## Slide 1: Proton eye raditherapy at the Institute of Nuclear Physics, Krakow, Poland
Barbara Michalec

## Slide 2
Introduction
Why protons?
Proton eye radiotherapy
Bronowice Cyclotron Center
Summary

## Slide 3
Established in 1955
476 emplyees:
36 professors
  40 assistant professors
5 divisions
Division of Particle and Astroparticle Physcics
Division of Nuclear Physics and Strong Interactions
Division of Condensed Matter
Division of Theretical Physics
Division of Applications of Physics and Iterdisciplinary Research
Bronowice Cyclotron Center
4 laboratories
Engineering workshops
International Ph.D. Studies
Interdisciplinary Doctoral Studies
about 130 students

## Slide 4
Radiation can cure…
1895 discovery of X rays
1898 skin cancer treatment with X- rays
1899 radium discovery
1900 skin cancer treatment with Ra
1903 gynecological applications

## Slide 5: Why protons?
Dose[a.u]
Depth in tissue[cm]
5
10
15
20
25
1
200 MeV protns
Bragg curve
X-rays
8 MV
Patient body
Tumor
200 MeV protons
SOBP

## Slide 6
Cyclotrons at IFJ PAN
Isochronous cyclotron
Proteus C-235
for 12th May 2012
P. Olko
J. Swakoń
250 MeV

## Slide 7
Isochronous cyclotron AIC-144
(from the 80s)
J. Schwabe
E. Bakewicz
J. Sulikowski
K. Guguła
G. Polok
Particles | Energy [MeV] | Beam current [uA]
protons | 20-60 | 1
deuterons | 15-30 | 20
 particles | 30-60 | 5
Cyclotrons at IFJ PAN
60 MeV

## Slide 8
History of proton eye radiotherapy at IFJ PAN
2000 - construction of the facility;
04.2004 - 44 MeV proton beam at the facilty;
06.2005 - 55 MeV proton beam at the facilty;
2006-2007 - medical equipment installation;
2008-2009 - facility tests
2010 - „mock therapies”,
consent of the Ethics Committee to conduct the procedure of proton radiotherapy
02.2011 - first patients
11.2012 - proton eye raditherapy is financed by the National Health System
October 2015 – 115 treated patients

## Slide 9
Partners
The Department of Opthalmology and Ocular Oncology,
Collegium Medicum, Jagillonian University
University Hospital in Krakow
Center of Oncology,
Maria Sklodowska-Curie Memorial Institute,
Krakow Branch
Faculty of Physics and Applied Computer Science
AGH Univeristy of Science and Technology
National Center for Nuclear Research, Świerk

## Slide 10
International Cooperation
Charité, Universitätsmedizin Berlin, Germany
HZB Helmholz Zentrum Berlin, Germany
Clatterbridge Centre for Oncology NHS, Great Britain
Interanational Atomic Energy Agency
Joint Institute for Nuclear Research, Russia
Instituto Nazionaledi Fiscia Nucleare – Laboratori Nazionali del Sud, Catana , Italy

## Slide 11
Proton eye radiotherapy facility
Notes: NAJPIERW STANOWISKO
POTEM PROCEDURA

## Slide 12: Proton eye radiotherapy facility
Range shifter
Range modulator
Kontrola wiązki
Patient collimator
Beam
Therapeutic chair
CR plate/flatpanel
Beam control elements
Notes: JONOWÓW
WIĄZKA HORYZONTALNA
FORMOWANIE WIĄZKI
„WSADZENIE” PACJENTA W WIĄZKĘ

## Slide 13: Beam forming system Range shifter
Range shifter reduces the range of protons,
the thicker wedge the smaller range of protons
depth
a.u.
Bragg curves measured in water phantom
with different thickness of range shifter
Notes: PROTONY MONOENERGETYCZNE

## Slide 14
Range modulator spreads up the Bragg peak in depth.
Beam forming system Range modulator
depth H2O [mm]
Arbitrary dose [%]
tumor

## Slide 15
Beam control elements
Beam forming system Patient collimator
The aperture depends on the tumor shape
Ion chambers

## Slide 16: Patient positioning system therapeutic chair, lasers
Therapeutic chair
Schaer Engineering Ltd.

## Slide 17: Patient positioning system halogen, LED diode
q
Fixation point
f
isocenter

## Slide 18: Patient positioning system X-ray lamps, flatpanels
RAD-14 Diamond X-ray tubes
Varian Medical Systems
Two orthogonal X-ray pictures
of the patient eye
flatpanel
flatpanel
Tantalum clips
X-tay tube
X-tay tube
patient

## Slide 19
Patien eye monitoring system

## Slide 20: Steering system
RT system
RT PXI National Instruments LabView
Steering room
Widok na konsoli

## Slide 21
Proton eye radiotherapy procedure
STEPS
Diagnosis and qualification for treatment
2. Surgical preparation
3. Planning
4. Positioning
5. Irradiation (4 x 15 CGE)

## Slide 22
Diagnosis and qualification for treatment
Uveal melanoma - 90%
Ciliary body melanoma - 7%
Iris melanoma - 3%
Retinoblastoma

## Slide 23
Tantalum markers
Surgical preparation

## Slide 24: Patient immobilisation

## Slide 25: Planning
Eclipse Ocular Proton Planning (EOPP) Varian Medical Systems
Dose distribution Optimal fixation light position Proton range Proton modulation Patient collimator

## Slide 26
Planning
Kształt apertury zależny jest od kształtu zmiany nowotworowej

## Slide 27
Patient positioning

## Slide 28: Irradiation
Uveal malanoma 4 x 15,0 CGE = 60 CGE
Iris malanoma 4 x 12,5 CGE = 50 CGE
(CGE = Cobalt Gray Equivalent)
Positioning diode
Patient collimator with wedge

## Slide 29
Treatment of the first patients was sucessfully finished.
It was a hard work of more than 50 people – physicists, engeeniers, physicians, technicians…

## Slide 30
The National Centre for Hadron Radiotherapy
Bronowice Cyclotron Center (NCRH-CCB)

## Slide 31
New proton eye radiotherapy facility – NCRH-CCB
It allows treatment of tumors at any depth
Better patient positioning: isocentric chair, automatic flatpanel
CE Medical

## Slide 32
Narodowe Centrum Radioterapii Hadronowej Faza 2: Centrum Cyklotronowe Bronowice - Stanowisko Gantry
Gantry at NCRH-CCB

## Slide 33
magnets weightv ca. 10 tons
construction weight ca. 100 ton
Construction diameter 11 meters
Irradiation precision: better than 1 mm
Gantry at NCRH-CCB

## Slide 34
NCRH-CCB – experimental hal
nuclear physics
tests of electronics for space flights
detector testing

## Slide 35
NCRH-CCB - radiobiology
Irradiations of hamsters with implanted eye melanoma
Blood irradiations

## Slide 36
Radioterapia protonowa z gantry w Europie
Działające ośrodki:
W budowie:
Obecnie zaawansowaną radioterapie protonową dysponują:
Niemcy (2 ośrodki)
Szwajcaria (1),
Francja (1)
W budowie: 10 ośrodków
Paweł Olko IFJ PAN

## Slide 37: Proton radiotherapy
Cons:
Proton therapy is more expensive than conventional
There was no evidence of a significant improvement (although there is no such evidence for all currently used radiotherapy techniques)
Pros:
The possibility of dose escalation – local control is more probable
Lower doses to organs at risk (OARs) and healthy tissues - fewer side effects
Less likely hood of secondary, radiation induced tumors (children!)
Less chance of late developmental changes in children
Notes: 37

## Slide 38: Summary
Proton therapy is the most advanced radiotherapy technique.
Proton raditherapy offers the most conformal dose distribution .
More than 100 patient with uveal melanoma were treated up till now at IFJ PAN
The National Centre for Hadron Radiotherapy Bronowice Cyclotron Center at IFJ PAN has been operating since January 2013. Patient treatment at the gantry is scheduled to 1.01.2016.

## Slide 40
привет!